Sample preparation:

- Add 300 ul nasal swab sample to 600 ul Trizol in biosafety cabinet. Vortex tubes to immerse tissue in Trizol and mix. Incubate at RT  5 min.

- RNA extraction using Zymo kit & NEB DNase I:

- Arrange samples and record in lab notebook.

- Prepare two labeled 1.5 ml eppi tubes and a Zymo RNA CC-5 spin column in a collection tube for each sample.

- In fume hood, pulse down tubes then add 200 l chloroform. Shake by hand 15 seconds then incubate  2 min.

- Spin samples in centrifuge 10 min x 12,000 g.

- During spin, add 450 l each of 1:1 Zymo RNA binding buffer and 100% EtOH (total 900 l) to each eppi.

- After spin, return to the fume hood and transfer 450 l of each sample’s aqueous phase (clear) to the tubes containing 900 l 1:1 buffer and ethanol. Mix and pulse down.

  - Note: the organic phase/interphase can be saved at -80C.

- Transfer 750 l of each sample to RNA CC-5 columns and centrifuge for 1 min x 12,000 g to pull all liquid through columns. If the entire sample doesn’t fit in the column, spin, discard flow-through, add the rest of the sample and spin again.

- Wash each column with 400 l Zymo RNA wash buffer, centrifuge again for 1 min x 12,000 g, and discard flow-through.

- Prepare enough DNase I master mix for N+1 samples:

| Reagent | Volume for 1 sample | Volume for master mix (N+1) |
| --- | --- | --- |
| RNA wash buffer (Zymo) | 24 l |  |
| DNase I buffer (NEB) | 3 l |  |
| DNase I (NEB) | 3 l |  |

- Add 30 l master mix to each column, making sure it gets in column matrix.

- Incubate 20 min at RT.

- Spin columns (in collection tubes) for 30 seconds at 9000g. Leave flow-through.

- Add 400 μl RNA prep buffer to each column. Spin 30 s 9000g again and discard flow-through. Note: Try to avoid contaminating things w/ DNase.

- Wash columns w/ 800 μl RNA wash buffer, spin 30 s x 9000g and discard flow-through.

- Wash again with 400 μl RNA wash buffer- centrifuge 30 sec x 9000g to pull through.

- Transfer columns to new collection tubes.

- Spin 1 minute at just under max speed to dry (~16000g).

- Transfer columns to labeled tubes and elute RNA by carefully adding 24 μl nuclease-free H2O to the column and centrifuging for 1 min x 9000g.

- Keep RNA on ice or store at -80C. At this point it is possible to transfer 5 μl RNA (in duplicate) to PCR strips to continue with reverse transcription.

- Reverse transcription:

- Thaw RNA and RT reagents on ice (note: leave enzymes including RNase OUT and SuperScript IV RT in freezer until needed)

- Prepare a master mix of random primers, dNTP mix, and H2O in the qPCR hood and add 1.5 l to each labeled nuclease-free PCR tube in duplicate (two reactions for each sample).

| Component | Volume for 1 sample | Volume for master mix ((N*2)+1) |
| --- | --- | --- |
| RNA sample | 5 l | -- |
| 50uM random primers | 0.5 l |  |
| 10 mM dNTP Mix (10 mM each) | 0.5 l |  |
| Nuclease-free H2O | - l |  |

- Return to the bench and add 5 l RNA sample to each tube (using 10 l total from each sample), mixing gently by pipetting up and down, then spin down.

- Incubate reactions at 65C for 5 min then incubate on ice for at least 1 minute.

- Prepare master mix of the remaining components:

| Component | Volume for 1 sample | Volume for master mix ((N*2)+1) |
| --- | --- | --- |
| 5x SSIV Buffer | 2 l |  |
| 100 mM DTT | 0.5 l |  |
| RNase OUT (40 units/l) | 0.5 l |  |
| SuperScript IV RT | 0.5 l |  |

- Spin tubes down briefly and add 3.5 l master mix to each sample tube, mixing gently by pipetting up and down.

- Incubate reactions at 23C for 10 min, 52.5C (50-55C) for 10 min, then 80C for 10 min.

- Store cDNA at -20C.